%N zeestat

%D Fits Zeeman parameters to I and V cubes

%P nebk

%: model fitting

%B

ZEESTAT is a Miriad task that fits Zeeman parameters to a region of

input I and V cubes. Zeestat also analyses the noise correlations

to determine a factor used in correcting the sigma estimates.

%A iin

Input I cube in vxy order. Wild card expansion is supported. No default.

%A vin

Input V cube in vxy order. Wild card expansion is supported. No default.

%A beam

The beam of the observation. This is used in determining the sigma

correction factor. The default is a delta function. You should

give the beam if you want an accurate estimate of sigma.

Wild card expansion is supported.

%A rho

The channel-to-channel correlation coefficient. This is used in

determining the sigma correction factor. The default is 0.

%A freq

Frequency (GHz) of splitting. No default.

%A mode

This is a character string that determines the algorithm used in the

fitting process. It consists of several flags, which can be:

m Use maximum likelihood technique.

l Include a leakage term in the fitting.

2 Use a two sided derivative estimate.

x Perform extra checks for better solutions when using the maximum

likelihood technique.

The default is ' ' i.e., least squares and 1.

%A aveop

If 'a' then the spectra specified by the spatial window are

averaged before being passed to the fitting routine.  Otherwise,

and by default, all spectra are passed to the fitting routine

and "spatial summing" (as defined by SKLZ) is performed.

%A chan

Channel range. Default is all channels.

%A blc

Bottom left corner of spatial region to examine. Default is (1,1).

%A trc

Top right corner of spatial region to examine. Default is all

of image.

%A log

This is the name of an output logfile, which shows how the error

estimate varies with the alpha parameter.

%A out

Output results to this file as well as screen