%N fakeotf

%D Generate a fake RPFITS file from an existing one

%P tw

%: analysis

%B

FAKEOTF reads an RPFITS file and replaces all spectra with a

single Gaussian profile.  The amplitude of the Gaussian is

either constant across the map (fwhm=0) or falls of as a

circular 2-D Gaussian in the image plane.  A new RPFITS file is

produced.  Use this to simulate the effects of Gridzilla on

Mopra OTF data.

Limitation: The same parameters will be used for all IFs.

%A in

Input RPFITS file, which should be an OTF map.  It is assumed

that the position and spectral timestamps match; if not run

MOPFIX first.

%A out

Output RPFITS file.  No default.

%A specpar

Amplitude and sigma of spectral Gaussian, in K and channel

units.  Default is 1,20 - i.e. 1 K and 20 channels.

%A centre

RA,DEC of centre position for image Gaussian.  No default, but

can be omitted if fwhm=0.

%A fwhm

FWHM of image Gaussian in arcsec (default 30). Give 0 for flat

plane.

%A tsys

System temps for channels A and B respectively.  If only one

value is given, this is used for both channels.  This is also

used to determine the amount of noise in each spectrum.  Default

is to use the original Tsys measurements from the input file.