%N uvglue

%D Glue channels together

%P nebk

%: calibration

%B

UVGLUE glues together individual multi-channel files into

one mega-multi-channel file.

The individual multi-channel files must be IDENTICAL except for

the values and flags of the correlations.  I.e. they must have

the same number of channels and the same preambles.

For example, if we have 3 files names "vis_1", "vis_2" and

"vis_3", where each file contains N  channels, then the output

file will contain 3*N channels glued together in the order

vis_1(1:N), vis_2(1:N), vis_3(1:N)

The output contains only one spectral window with NFILES*N channels

%A vis

Root name of input visibility files.   Files must be named

vis_i for the ith file.  No default. NOTE: any calibration

tables present in the input datasets are NOT applied in

forming the output.

%A nfiles

Number of file to read.

%A out

Output file name. No default